## Slide 1: Transmission Line Fault Analysis
A MATLAB-Based Simulation for Balanced and Unbalanced Fault Analysis

## Slide 2: Introduction to Fault Analysis
Fault analysis is crucial in power systems to ensure reliability and safety. It involves understanding how faults like short circuits affect operations.

## Slide 3: Fault Analysis 01

## Slide 4: Definition of a fault in power systems
A fault refers to an abnormal condition that disrupts the normal functioning of electrical power systems, such as short circuits, which may lead to equipment damage and instability.

## Slide 5: Importance of fault analysis for safety
Fault analysis is vital for protecting equipment from damage, ensuring system reliability, and designing effective protective devices like circuit breakers and relays that mitigate risks during faults.

## Slide 6: Types of faults: 1.Balanced 2.Unbalanced
Balanced faults involve all three phases equally, such as three-phase faults.
Unbalanced faults involve one or two phases, like
1.Line-to-ground (LG), 2.Line-to-Line (LL), 3.Double Line-to-Ground (LLG) faults, each affecting system stability differently.

## Slide 7: Methodology 02

## Slide 8: Balanced fault analysis formula and parameters

## Slide 9: Balanced fault analysis formula and parameters

## Slide 10: Unbalanced fault analysis using symmetrical components

## Slide 11: Unbalanced fault analysis using symmetrical components

## Slide 12: Unbalanced fault analysis

## Slide 13: MATLAB implementation for fault simulation
The MATLAB implementation allows users to input system parameters easily. The app calculates fault currents and fault power based on selected fault types and displays results visually via a fault current vs time graph, enhancing the understanding of fault behavior over time.